## Sheet1
TYPE | PLC_IO | DESCRIPTION | TAG_NAME | PLC_DESCRIPTION
DI | Local:2:I.Data.0 | Test/Reset Pushbutton | XS-801 | XS-801 Test/Reset Pushbutton
DI | Local:2:I.Data.1 | Power Monitor Alarm | JSF-802 | JSF-802 Power Monitor Alarm
DI | Local:2:I.Data.2 | Surge Suppressor Fail Alarm | UF-803 | UF-803 Surge Suppressor Fail Alarm
DI | Local:2:I.Data.3 | ATS Normal | YS-8041 | YS-8041 ATS Normal
DI | Local:2:I.Data.4 | ATS Emergency | YS-8042 | YS-8042 ATS Emergency
DI | Local:2:I.Data.5 | UPS Low Battery | JSF-800 | JSF-800 UPS Low Battery
DI | Local:2:I.Data.6 | UPS On Battery | YI-8001 | YI-8001 UPS On Battery
DI | Local:2:I.Data.7 | UPS Fault | XF-800 | XF-800 UPS Fault
DI | Local:2:I.Data.8 | UPS Bypassed | YI-8002 | YI-8002 UPS Bypassed
DI | Local:2:I.Data.9 | Generator Run Status | XA-8051 | XA-8051 Generator Run Status
DI | Local:2:I.Data.10 | Generator In Auto | HSA-805 | HSA-805 Generator In Auto
DI | Local:2:I.Data.11 | Generator Common Alarm | JSF-805 | JSF-805 Generator Common Alarm
DI | Local:2:I.Data.12 | Generator Common Shutdown | JUF-805 | JUF-805 Generator Common Shutdown
DI | Local:2:I.Data.13 | MV-1450 RAS Pump 1 Waste Valve Open Feedback | ZSO-450 | ZSO-450 MV-1450 RAS Pump 1 Waste Valve Open Feedback
DI | Local:2:I.Data.14 | MV-1450 RAS Pump 1 Waste Valve Closed Feedback | ZSC-450 | ZSC-450 MV-1450 RAS Pump 1 Waste Valve Closed Feedback
DI | Local:2:I.Data.15 | RP-1430 RAS Pump 1 Low Flow | FSL-430 | FSL-430 RP-1430 RAS Pump 1 Low Flow
DI | Local:3:I.Data.0 | RP-1440 RAS Pump 2 Low Flow | FSL-440 | FSL-440 RP-1440 RAS Pump 2 Low Flow
DI | Local:3:I.Data.1 | EP-1620 Final Effluent Pump 1 Low Flow | FSL-620 | FSL-620 EP-1620 Final Effluent Pump 1 Low Flow
DI | Local:3:I.Data.2 | EP-1630 Final Effluent Pump 2 Low Flow | FSL-630 | FSL-630 EP-1630 Final Effluent Pump 2 Low Flow
DI | Local:3:I.Data.3 | Totalized Volume Pulse for FE-1601 Effluent Flow | FIQ-601 | FIQ-601 Totalized Volume Pulse for FE-1601 Effluent Flow
DI | Local:3:I.Data.4 | Secondary Clarifier 1 Run Status | XA-4111 | XA-4111 Secondary Clarifier 1 Run Status
DI | Local:3:I.Data.5 | Secondary Clarifier 1 In Auto | HSA-411 | HSA-411 Secondary Clarifier 1 In Auto
DI | Local:3:I.Data.6 | Secondary Clarifier 1 Torque Alarm | XA-4112 | XA-4112 Secondary Clarifier 1 Torque Alarm
DI | Local:3:I.Data.7 | Secondary Clarifier 1 Overload | XA-4113 | XA-4113 Secondary Clarifier 1 Overload
DI | Local:3:I.Data.8 | Mechanical Building Sump Pump Run Status | XA-5001 | XA-5001 Mechanical Building Sump Pump Run Status
DI | Local:3:I.Data.9 | Mechanical Building Sump Pump General Alarm | XA-5002 | XA-5002 Mechanical Building Sump Pump General Alarm
DI | Local:3:I.Data.10 | Mechanical Building Sump Pump High High Level | LSHH-500 | LSHH-500 Mechanical Building Sump Pump High High Level
DI | Local:3:I.Data.13 | Totalized Volume Pulse for FE-1401 WAS Flow | FIQ-401 | FIQ-401 Totalized Volume Pulse for FE-1401 WAS Flow
DI | Local:3:I.Data.14 | Totalized Volume Pulse for FE-1402 RAS IFAS Tank 1 Flow | FIQ-402 | FIQ-402 Totalized Volume Pulse for FE-1402 RAS IFAS Tank 1 Flow
DI | Local:3:I.Data.15 | Totalized Volume Pulse for FE-1403 RAS IFAS Tank 2 Flow | FIQ-403 | FIQ-403 Totalized Volume Pulse for FE-1403 RAS IFAS Tank 2 Flow
DI | Local:4:I.Data.0 | SP-1510 TWAS Pump 1 Low Flow | FSL-510 | FSL-510 SP-1510 TWAS Pump 1 Low Flow
DI | Local:4:I.Data.1 | SP-1520 TWAS Pump 2 Low Flow | FSL-520 | FSL-520 SP-1520 TWAS Pump 2 Low Flow
DI | Local:4:I.Data.2 | Secondary Clarifier 2 Run Status | XA-4211 | XA-4211 Secondary Clarifier 2 Run Status
DI | Local:4:I.Data.3 | Secondary Clarifier 2 In Auto | HSA-421 | HSA-421 Secondary Clarifier 2 In Auto
DI | Local:4:I.Data.4 | Secondary Clarifier 2 Torque Alarm | XA-4212 | XA-4212 Secondary Clarifier 2 Torque Alarm
DI | Local:4:I.Data.5 | Secondary Clarifier 2 Overload | XA-4213 | XA-4213 Secondary Clarifier 2 Overload
DI | Local:4:I.Data.6 | MV-1451 RAS Pump 2 Waste Valve Open Feedback | ZSO-451 | ZSO-451 MV-1451 RAS Pump 2 Waste Valve Open Feedback
DI | Local:4:I.Data.7 | MV-1451 RAS Pump 2 Waste Valve Closed Feedback | ZSC-451 | ZSC-451 MV-1451 RAS Pump 2 Waste Valve Closed Feedback
DI | Local:4:I.Data.9 | Dewatering Odour Control Unit Ready (Vendor Control Panel LCP-4913) | YM-920 | YM-920 Dewatering Odour Control Unit Ready (Vendor Control Panel LCP-4913)
DI | Local:4:I.Data.10 | Dewatering Odour Control Unit Run Status (Vendor Control Panel LCP-4913) | YS-9202 | YS-9202 Dewatering Odour Control Unit Run Status (Vendor Control Panel LCP-4913)
DI | Local:4:I.Data.11 | Dewatering Odour Control Unit Fault (Vendor Control Panel LCP-4913) | YS-9203 | YS-9203 Dewatering Odour Control Unit Fault (Vendor Control Panel LCP-4913)
DI | Local:4:I.Data.12 | Dewatering Odour Control Unit In Auto (Vendor Control Panel LCP-4913) | HSA-920 | HSA-920 Dewatering Odour Control Unit In Auto (Vendor Control Panel LCP-4913)
DI | Local:4:I.Data.14 | Dewatering Odour Control Unit In Hand | HK-90201 | HK-90201 Dewatering Odour Control Unit In Hand
DI | Local:4:I.Data.15 | Dewatering Odour Control Unit In Hand | HK-90202 | HK-90202 Dewatering Odour Control Unit In Hand
DI | Local:5:I.Data.0 | PD-1570 Polymer Dosing System 1 Fault (Vendor Control Panel LCP-1570) | XA-5703 | XA-5703 PD-1570 Polymer Dosing System 1 Fault (Vendor Control Panel LCP-1570)
DI | Local:5:I.Data.1 | PD-1570 Polymer Dosing System 1 Run Status (Vendor Control Panel LCP-1570) | XA-5701 | XA-5701 PD-1570 Polymer Dosing System 1 Run Status (Vendor Control Panel LCP-1570)
DI | Local:5:I.Data.2 | PD-1570 Polymer Dosing System 1 In Remote (Vendor Control Panel LCP-1570) | XA-5702 | XA-5702 PD-1570 Polymer Dosing System 1 In Remote (Vendor Control Panel LCP-1570)
DI | Local:5:I.Data.3 | PD-1580 Polymer Dosing System 2 Fault (Vendor Control Panel LCP-1580) | XA-5803 | XA-5803 PD-1580 Polymer Dosing System 2 Fault (Vendor Control Panel LCP-1580)
DI | Local:5:I.Data.4 | PD-1580 Polymer Dosing System 2 Run Status (Vendor Control Panel LCP-1580) | XA-5801 | XA-5801 PD-1580 Polymer Dosing System 2 Run Status (Vendor Control Panel LCP-1580)
DI | Local:5:I.Data.5 | PD-1580 Polymer Dosing System 2 In Remote (Vendor Control Panel LCP-1580) | XA-5802 | XA-5802 PD-1580 Polymer Dosing System 2 In Remote (Vendor Control Panel LCP-1580)
DI | Local:5:I.Data.6 | CF-1550 Centrifuge 1 Permissive (Vendor Control Panel LCP-1550) | XC-5501 | XC-5501 CF-1550 Centrifuge 1 Permissive (Vendor Control Panel LCP-1550)
DI | Local:5:I.Data.7 | CF-1550 Centrifuge 1 Process Interlock (Vendor Control Panel LCP-1550) | XC-5502 | XC-5502 CF-1550 Centrifuge 1 Process Interlock (Vendor Control Panel LCP-1550)
DI | Local:5:I.Data.8 | CF-1560 Centrifuge 2 Permissive (Vendor Control Panel LCP-1560) | XC-5601 | XC-5601 CF-1560 Centrifuge 2 Permissive (Vendor Control Panel LCP-1560)
DI | Local:5:I.Data.9 | CF-1560 Centrifuge 2 Process Interlock (Vendor Control Panel LCP-1560) | XC-5602 | XC-5602 CF-1560 Centrifuge 2 Process Interlock (Vendor Control Panel LCP-1560)
DI | Local:5:I.Data.10 | TK-1510 Centrate Tank Low Low Level | LSLL-512 | LSLL-512 TK-1510 Centrate Tank Low Low Level
DI | Local:5:I.Data.11 | TK-1510 Centrate Tank High High Level | LSHH-513 | LSHH-513 TK-1510 Centrate Tank High High Level
DI | Local:5:I.Data.12 | FE-1501 TWAS Flow to Centrifuge Totalized Volume Pulse | FIQ-501 | FIQ-501 FE-1501 TWAS Flow to Centrifuge Totalized Volume Pulse
DI | Local:5:I.Data.13 | MCD-4922 Headworks Odour Contorl Unit Motorized Damper for Exhaust Fan Closed | ZSC-922 | ZSC-922 MCD-4922 Headworks Odour Contorl Unit Motorized Damper for Exhaust Fan Closed
DI | Local:5:I.Data.14 | MCD-4922 Headworks Odour Contorl Unit Motorized Damper for Exhaust Fan Open | ZSO-922 | ZSO-922 MCD-4922 Headworks Odour Contorl Unit Motorized Damper for Exhaust Fan Open
DI | Local:5:I.Data.15 | CTF Room Fault | PDSH-942 | PDSH-942 CTF Room Fault
DI | Local:6:I.Data.0 | Mechanical Building Lower Level South Intrusion Switch | ZSO-501 | ZSO-501 Mechanical Building Lower Level South Intrusion Switch
DI | Local:6:I.Data.1 | Mechanical Building Lower Level West Intrusion Switch | ZSO-502 | ZSO-502 Mechanical Building Lower Level West Intrusion Switch
DI | Local:6:I.Data.2 | Mechanical Building Lower Level South Intrusion Switch | ZSO-503 | ZSO-503 Mechanical Building Lower Level South Intrusion Switch
DI | Local:6:I.Data.3 | Mechanical Building Lower Level East Intrusion Switch (Chemical Storage Room) | ZSO-504 | ZSO-504 Mechanical Building Lower Level East Intrusion Switch (Chemical Storage Room)
DI | Local:6:I.Data.4 | Mechanical Building Lower Level East Intrusion Switch (Workshop) | ZSO-505 | ZSO-505 Mechanical Building Lower Level East Intrusion Switch (Workshop)
DI | Local:6:I.Data.5 | Mechanical Building Lower Level East Intrusion Switch (Electrical Room) | ZSO-506 | ZSO-506 Mechanical Building Lower Level East Intrusion Switch (Electrical Room)
DI | Local:6:I.Data.6 | Mechanical Building Upper Level North Intrusion Switch | ZSO-507 | ZSO-507 Mechanical Building Upper Level North Intrusion Switch
DI | Local:6:I.Data.7 | MV-1640 Effluent to Outfall Diversion Valve Open Feedback | ZSO-640 | ZSO-640 MV-1640 Effluent to Outfall Diversion Valve Open Feedback
DI | Local:6:I.Data.8 | MV-1640 Effluent to Outfall Diversion Valve Closed Feedback | ZSC-640 | ZSC-640 MV-1640 Effluent to Outfall Diversion Valve Closed Feedback
DI | Local:6:I.Data.9 | MV-1650 Effluent to Wash Water Tank Diversion Valve Open Feedback | ZSO-650 | ZSO-650 MV-1650 Effluent to Wash Water Tank Diversion Valve Open Feedback
DI | Local:6:I.Data.10 | MV-1650 Effluent to Wash Water Tank Diversion Valve Closed Feedback | ZSC-650 | ZSC-650 MV-1650 Effluent to Wash Water Tank Diversion Valve Closed Feedback
DI | Local:6:I.Data.12 | SP-1530 Centrate Pump 1 Low Flow | FSL-530 | FSL-530 SP-1530 Centrate Pump 1 Low Flow
DI | Local:6:I.Data.13 | SP-1540 Centrate Pump 2 Low Flow | FSL-540 | FSL-540 SP-1540 Centrate Pump 2 Low Flow
DI | Local:7:I.Data.0 | MV-1610 UV 1 Inlet Control Valve Open Feedback | ZSO-610 | ZSO-610 MV-1610 UV 1 Inlet Control Valve Open Feedback
DI | Local:7:I.Data.1 | MV-1610 UV 1 Inlet Control Valve Closed Feedback | ZSC-610 | ZSC-610 MV-1610 UV 1 Inlet Control Valve Closed Feedback
DI | Local:7:I.Data.2 | MV-1610 UV 2 Inlet Control Valve Open Feedback | ZSO-620 | ZSO-620 MV-1610 UV 2 Inlet Control Valve Open Feedback
DI | Local:7:I.Data.3 | MV-1610 UV 2 Inlet Control Valve Closed Feedback | ZSC-620 | ZSC-620 MV-1610 UV 2 Inlet Control Valve Closed Feedback
DI | Local:7:I.Data.4 | ME-1611 UV Reactor 1 UV Disinfection Permissive (Vendor Control Panel) | XC-611 | XC-611 ME-1611 UV Reactor 1 UV Disinfection Permissive (Vendor Control Panel)
DI | Local:7:I.Data.5 | ME-1611 UV Reactor 1 UV Disinfection General Alarm (Vendor Control Panel) | XA-611 | XA-611 ME-1611 UV Reactor 1 UV Disinfection General Alarm (Vendor Control Panel)
DI | Local:7:I.Data.6 | ME-1612 UV Reactor 2 UV Disinfection Permissive (Vendor Control Panel) | XC-612 | XC-612 ME-1612 UV Reactor 2 UV Disinfection Permissive (Vendor Control Panel)
DI | Local:7:I.Data.7 | ME-1612 UV Reactor 2 UV Disinfection General Alarm (Vendor Control Panel) | XA-612 | XA-612 ME-1612 UV Reactor 2 UV Disinfection General Alarm (Vendor Control Panel)
DI | Local:7:I.Data.12 | TK-1600 Final Effluent Tank Low Low Level | LSLL-603 | LSLL-603 TK-1600 Final Effluent Tank Low Low Level
DI | Local:7:I.Data.13 | TK-1600 Final Effluent Tank High High Level | LSHH-602 | LSHH-602 TK-1600 Final Effluent Tank High High Level
DO | Local:8:O.Data.0 | Power Normal | JSN-810 | JSN-810 Power Normal
DO | Local:8:O.Data.1 | Common Alarm | YA-8201 | YA-8201 Common Alarm
DO | Local:8:O.Data.2 | PLC Fail | YA-8202 | YA-8202 PLC Fail
DO | Local:8:O.Data.3 | H2S Strobe | AN-820 | AN-820 H2S Strobe
DO | Local:8:O.Data.6 | Secondary Clarifier 1 Run Command (Vendor Control Panel LCP-1410) | MN-411 | MN-411 Secondary Clarifier 1 Run Command (Vendor Control Panel LCP-1410)
DO | Local:8:O.Data.7 | Secondary Clarifier 2 Run Command (Vendor Control Panel LCP-1420) | MN-421 | MN-421 Secondary Clarifier 2 Run Command (Vendor Control Panel LCP-1420)
DO | Local:8:O.Data.8 | MV-1640 Effluent to Outfall Diversion Valve Open Command | MC-6401 | MC-6401 MV-1640 Effluent to Outfall Diversion Valve Open Command
DO | Local:8:O.Data.9 | MV-1640 Effluent to Outfall Diversion Valve Close Command | MC-6402 | MC-6402 MV-1640 Effluent to Outfall Diversion Valve Close Command
DO | Local:8:O.Data.10 | MV-1650 Effluent to Wash Water Tank Diversion Valve Open Command | MC-6501 | MC-6501 MV-1650 Effluent to Wash Water Tank Diversion Valve Open Command
DO | Local:8:O.Data.11 | MV-1650 Effluent to Wash Water Tank Diversion Valve Close Command | MC-6502 | MC-6502 MV-1650 Effluent to Wash Water Tank Diversion Valve Close Command
DO | Local:8:O.Data.15 | PLC Fail Timer TDDE1 (0.0 - 3.0 minutes) | KS-815 | KS-815 PLC Fail Timer TDDE1 (0.0 - 3.0 minutes)
DO | Local:9:O.Data.0 | MV-1450 RAS Pump 1 Waste Valve Open Command | MC-4501 | MC-4501 MV-1450 RAS Pump 1 Waste Valve Open Command
DO | Local:9:O.Data.1 | MV-1450 RAS Pump 1 Waste Valve Close Command | MC-4502 | MC-4502 MV-1450 RAS Pump 1 Waste Valve Close Command
DO | Local:9:O.Data.2 | PD-1570 Polymer Dosing System 1 Run Command (Vendor Control Panel) | MN-570 | MN-570 PD-1570 Polymer Dosing System 1 Run Command (Vendor Control Panel)
DO | Local:9:O.Data.3 | PD-1580 Polymer Dosing System 2 Run Command (Vendor Control Panel) | MN-580 | MN-580 PD-1580 Polymer Dosing System 2 Run Command (Vendor Control Panel)
DO | Local:9:O.Data.4 | MV-1451 RAS Pump 2 Waste Valve Open Command | MC-4511 | MC-4511 MV-1451 RAS Pump 2 Waste Valve Open Command
DO | Local:9:O.Data.5 | MV-1451 RAS Pump 2 Waste Valve Close Command | MC-4512 | MC-4512 MV-1451 RAS Pump 2 Waste Valve Close Command
DO | Local:9:O.Data.6 | MV-1610 UV 1 Inlet Control Valve Open Command | MC-6101 | MC-6101 MV-1610 UV 1 Inlet Control Valve Open Command
DO | Local:9:O.Data.7 | MV-1610 UV 1 Inlet Control Valve Close Command | MC-6102 | MC-6102 MV-1610 UV 1 Inlet Control Valve Close Command
DO | Local:9:O.Data.8 | MV-1620 UV 2 Inlet Control Valve Open Command | MC-6201 | MC-6201 MV-1620 UV 2 Inlet Control Valve Open Command
DO | Local:9:O.Data.9 | MV-1620 UV 2 Inlet Control Valve Close Command | MC-6202 | MC-6202 MV-1620 UV 2 Inlet Control Valve Close Command
DO | Local:9:O.Data.10 | ME-1611 UV Reactor 1 Remote Auto Request (Vendor Control Panel) | XD-611 | XD-611 ME-1611 UV Reactor 1 Remote Auto Request (Vendor Control Panel)
DO | Local:9:O.Data.11 | ME-1612 UV Reactor 2 Remote Auto Request (Vendor Control Panel) | XD-612 | XD-612 ME-1612 UV Reactor 2 Remote Auto Request (Vendor Control Panel)
DO | Local:9:O.Data.12 | Dewatering Odour Control Unit Run Command (Vendor Control Panel LCP-4923) | MN-920 | MN-920 Dewatering Odour Control Unit Run Command (Vendor Control Panel LCP-4923)
AI | Local:11:I.Ch2Data | RAS to TWAS Tank Flow Rate | FIT-401A | FIT-401A RAS to TWAS Tank Flow Rate
AI | Local:11:I.Ch3Data | RAS to IFAS Tank 1 Flow Rate | FIT-402A | FIT-402A RAS to IFAS Tank 1 Flow Rate
AI | Local:11:I.Ch4Data | RAS to IFAS Tank 2 Flow Rate | FIT-403 | FIT-403 RAS to IFAS Tank 2 Flow Rate
AI | Local:11:I.Ch5Data | TK-1500 TWAS Tank Level | LIT-501 | LIT-501 TK-1500 TWAS Tank Level
AI | Local:11:I.Ch6Data | Centrifuges Flow Rate | FIT-501 | FIT-501 Centrifuges Flow Rate
AI | Local:11:I.Ch7Data | Centrifuges MLSS | AIT-501 | AIT-501 Centrifuges MLSS
AI | Local:12:I.Ch0Data | Dewatering Odour Control Unit H2S Gas | GIT-90201 | GIT-90201 Dewatering Odour Control Unit H2S Gas
AI | Local:12:I.Ch1Data | CTF Room H2S Gas | GIT-90202 | GIT-90202 CTF Room H2S Gas
AI | Local:12:I.Ch2Data | TK-1510 Centrate Tank Level | LIT-511 | LIT-511 TK-1510 Centrate Tank Level
AI | Local:12:I.Ch4Data | TK-1600 Final Effluent Tank Level | LIT-601 | LIT-601 TK-1600 Final Effluent Tank Level
AI | Local:12:I.Ch5Data | Dewatering Odour Control Unit Temperature | TIT-902 | TIT-902 Dewatering Odour Control Unit Temperature
AI | Local:12:I.Ch6Data | Dewatering Odour Control Unit Mass Airflow Meter | FIT-902 | FIT-902 Dewatering Odour Control Unit Mass Airflow Meter
AI | Local:12:I.Ch7Data | Dewatering Odour Control Unit Speed Feedback | EF-4920 | EF-4920 Dewatering Odour Control Unit Speed Feedback
AI | Local:13:I.Ch1Data | CTF Room Temperature | TIT-90401 | TIT-90401 CTF Room Temperature
AI | Local:13:I.Ch2Data | CTF Room Temperature | TIT-90402 | TIT-90402 CTF Room Temperature
AI | Local:13:I.Ch3Data | CTF Room Mass Airflow | FIT-904 | FIT-904 CTF Room Mass Airflow
AI | Local:13:I.Ch4Data | CTF Room Differential Pressure | PDIT-90401 | PDIT-90401 CTF Room Differential Pressure
AI | Local:13:I.Ch5Data | CTF Room Differential Pressure | PDIT-90402 | PDIT-90402 CTF Room Differential Pressure
AI | Local:13:I.Ch6Data | Lab Room Differential Pressure | PDIT-90501 | PDIT-90501 Lab Room Differential Pressure
AI | Local:13:I.Ch7Data | Control Room Differential Pressure | PDIT-90502 | PDIT-90502 Control Room Differential Pressure
AI | Local:14:I.Ch0Data | Electrical Room Temperature | TIT-90606 | TIT-90606 Electrical Room Temperature
AI | Local:14:I.Ch1Data | Lab and Control Room Temperature | TIT-90503 | TIT-90503 Lab and Control Room Temperature
AI | Local:14:I.Ch2Data | Lab and Control Room Temperature | TIT-90506 | TIT-90506 Lab and Control Room Temperature
AI | Local:14:I.Ch3Data | Chemical Storage Room Temperature | TIT-90701 | TIT-90701 Chemical Storage Room Temperature
AI | Local:14:I.Ch4Data | Workshop Temperature | TIT-90702 | TIT-90702 Workshop Temperature
AI | Local:14:I.Ch5Data | Mechanical Room Temperature | TIT-908 | TIT-908 Mechanical Room Temperature
AI | Local:14:I.Ch6Data | Effluent to Outfall Flow Rate | FIT-601 | FIT-601 Effluent to Outfall Flow Rate
AI | Local:14:I.Ch7Data | Dewatering Odour Control Unit CH4 Gas | GIT-90203 | GIT-90203 Dewatering Odour Control Unit CH4 Gas
AI | Local:15:I.Ch0Data | CTF Room CH4 Gas | GIT-90204 | GIT-90204 CTF Room CH4 Gas
AI | Local:15:I.Ch1Data | ELEC Room Differential Pressure | PDIT-906 | PDIT-906 ELEC Room Differential Pressure
AI | Local:15:I.Ch2Data | Secondary Clarifier 1 Sludge Blanket Level Sensor Level Indication | AIT-410 | AIT-410 Secondary Clarifier 1 Sludge Blanket Level Sensor Level Indication
AI | Local:15:I.Ch3Data | Secondary Clarifier 2 Sludge Blanket Level Sensor Level Indication | AIT-420 | AIT-420 Secondary Clarifier 2 Sludge Blanket Level Sensor Level Indication
AO | Local:16:O.Ch0Data | Dewatering Odour Control Unit Speed Reference to VFD | SC-920 | SC-920 Dewatering Odour Control Unit Speed Reference to VFD
AO | Local:16:O.Ch6Data | PD-1570 Polymer Dosing System 1 Speed Reference (Vendor Control Panel LCP-1570) | SC-570 | SC-570 PD-1570 Polymer Dosing System 1 Speed Reference (Vendor Control Panel LCP-1570)
AO | Local:16:O.Ch7Data | PD-1580 Polymer Dosing System 2 Speed Reference (Vendor Control Panel LCP-1580) | SC-580 | SC-580 PD-1580 Polymer Dosing System 2 Speed Reference (Vendor Control Panel LCP-1580)
DI | Rack1:1:I.Data.1 | Screen and Grit Removal Train 1 Process Interlock | XC-110 | XC-110 Screen and Grit Removal Train 1 Process Interlock
DI | Rack1:1:I.Data.2 | Screen and Grit Removal Train 1 General Alarm | XA-110 | XA-110 Screen and Grit Removal Train 1 General Alarm
DI | Rack1:1:I.Data.4 | Screen and Grit Removal Train 1 Process Interlock | XC-120 | XC-120 Screen and Grit Removal Train 1 Process Interlock
DI | Rack1:1:I.Data.5 | Screen and Grit Removal Train 1 General Alarm | XA-120 | XA-120 Screen and Grit Removal Train 1 General Alarm
DI | Rack1:1:I.Data.8 | MX-1330 EQ Tank Mixer 1 Starter MCP Tripped | MS-330 | MS-330 MX-1330 EQ Tank Mixer 1 Starter MCP Tripped
DI | Rack1:1:I.Data.9 | MX-1330 EQ Tank Mixer 1 Starter Running | XA-3301 | XA-3301 MX-1330 EQ Tank Mixer 1 Starter Running
DI | Rack1:1:I.Data.10 | MX-1330 EQ Tank Mixer 1 Starter Motor Overload | XA-3302 | XA-3302 MX-1330 EQ Tank Mixer 1 Starter Motor Overload
DI | Rack1:1:I.Data.11 | MX-1330 EQ Tank Mixer 1 Starter in Auto | HSA-330 | HSA-330 MX-1330 EQ Tank Mixer 1 Starter in Auto
DI | Rack1:1:I.Data.12 | MX-1330 EQ Tank Mixer 1 Starter Overtemp | XA-3303 | XA-3303 MX-1330 EQ Tank Mixer 1 Starter Overtemp
DI | Rack1:1:I.Data.13 | MX-1330 EQ Tank Mixer 1 Starter Seal Leak | XA-3304 | XA-3304 MX-1330 EQ Tank Mixer 1 Starter Seal Leak
DI | Rack1:1:I.Data.15 | Headworks Odour Control Unit | HSA-910 | HSA-910 Headworks Odour Control Unit
DI | Rack1:2:I.Data.0 | MX-1340 EQ Tank Mixer 2 Starter MCP Tripped | MS-340 | MS-340 MX-1340 EQ Tank Mixer 2 Starter MCP Tripped
DI | Rack1:2:I.Data.1 | MX-1340 EQ Tank Mixer 2 Starter Running | XA-3401 | XA-3401 MX-1340 EQ Tank Mixer 2 Starter Running
DI | Rack1:2:I.Data.2 | MX-1340 EQ Tank Mixer 2 Starter Motor Overload | XA-3402 | XA-3402 MX-1340 EQ Tank Mixer 2 Starter Motor Overload
DI | Rack1:2:I.Data.3 | MX-1340 EQ Tank Mixer 2 Starter in Auto | HSA-340 | HSA-340 MX-1340 EQ Tank Mixer 2 Starter in Auto
DI | Rack1:2:I.Data.4 | MX-1340 EQ Tank Mixer 2 Starter Overtemp | XA-3403 | XA-3403 MX-1340 EQ Tank Mixer 2 Starter Overtemp
DI | Rack1:2:I.Data.5 | MX-1340 EQ Tank Mixer 2 Starter Seal Leak | XA-3404 | XA-3404 MX-1340 EQ Tank Mixer 2 Starter Seal Leak
DI | Rack1:2:I.Data.12 | EQ-1310 EQ Pump 1 Low Flow | FSL-310 | FSL-310 EQ-1310 EQ Pump 1 Low Flow
DI | Rack1:2:I.Data.13 | EQ-1320 EQ Pump 2 Low Flow | FSL-320 | FSL-320 EQ-1320 EQ Pump 2 Low Flow
DI | Rack1:2:I.Data.14 | TK-1300 EQ Tank Low Low Level | LSLL-301 | LSLL-301 TK-1300 EQ Tank Low Low Level
DI | Rack1:2:I.Data.15 | TK-1300 EQ Tank High High Level | LSHH-302 | LSHH-302 TK-1300 EQ Tank High High Level
DI | Rack1:3:I.Data.0 | Head Building Lower Level West Intrusion Switch | ZSO-101 | ZSO-101 Head Building Lower Level West Intrusion Switch
DI | Rack1:3:I.Data.1 | Head Building Control Room East Intrusion Switch | ZSO-102 | ZSO-102 Head Building Control Room East Intrusion Switch
DI | Rack1:3:I.Data.2 | Head Building Control Room South Intrusion Switch | ZSO-103 | ZSO-103 Head Building Control Room South Intrusion Switch
DI | Rack1:3:I.Data.3 | Head Building Lower Level South Intrusion Switch | ZSO-104 | ZSO-104 Head Building Lower Level South Intrusion Switch
DI | Rack1:3:I.Data.4 | Head Building Upper Level North Intrusion Switch | ZSO-105 | ZSO-105 Head Building Upper Level North Intrusion Switch
DI | Rack1:3:I.Data.7 | CP-1330 NaOH Dosing Pump 1 Fault (Vendor Control Panel LCP-1330) | XA-3503 | XA-3503 CP-1330 NaOH Dosing Pump 1 Fault (Vendor Control Panel LCP-1330)
DI | Rack1:3:I.Data.8 | CP-1330 NaOH Dosing Pump 1 Running (Vendor Control Panel LCP-1330) | XA-3501 | XA-3501 CP-1330 NaOH Dosing Pump 1 Running (Vendor Control Panel LCP-1330)
DI | Rack1:3:I.Data.9 | CP-1330 NaOH Dosing Pump 1 Remote (Vendor Control Panel LCP-1330) | XA-3502 | XA-3502 CP-1330 NaOH Dosing Pump 1 Remote (Vendor Control Panel LCP-1330)
DI | Rack1:3:I.Data.10 | CP-1340 NaOH Dosing Pump 2 Fault (Vendor Control Panel LCP-1340) | XA-3603 | XA-3603 CP-1340 NaOH Dosing Pump 2 Fault (Vendor Control Panel LCP-1340)
DI | Rack1:3:I.Data.11 | CP-1340 NaOH Dosing Pump 2 Running (Vendor Control Panel LCP-1340) | XA-3601 | XA-3601 CP-1340 NaOH Dosing Pump 2 Running (Vendor Control Panel LCP-1340)
DI | Rack1:3:I.Data.12 | CP-1340 NaOH Dosing Pump 2 Remote (Vendor Control Panel LCP-1340) | XA-3602 | XA-3602 CP-1340 NaOH Dosing Pump 2 Remote (Vendor Control Panel LCP-1340)
DI | Rack1:3:I.Data.15 | Headworks Room Fault | PDSH-932 | PDSH-932 Headworks Room Fault
DI | Rack1:4:I.Data.2 | TK-1700 Wash Water Tank Low Low Level | LSLL-703 | LSLL-703 TK-1700 Wash Water Tank Low Low Level
DI | Rack1:4:I.Data.3 | TK-1700 Wash Water Tank High High Level | LSHH-702 | LSHH-702 TK-1700 Wash Water Tank High High Level
DI | Rack1:5:I.Data.2 | SU-1100 Headworks Sump Pump Running Feedback | XA-1001 | XA-1001 SU-1100 Headworks Sump Pump Running Feedback
DI | Rack1:5:I.Data.4 | SU-1100 Headworks Sump Pump Auto Feedback | XA-1002 | XA-1002 SU-1100 Headworks Sump Pump Auto Feedback
DI | Rack1:5:I.Data.7 | SU-1100 Headworks Sump High High Level | LSHH-100 | LSHH-100 SU-1100 Headworks Sump High High Level
DI | Rack1:6:I.Data.0 | Totalized Pulse for FE-1101 Flow from Warren Way PS | FIQ-101 | FIQ-101 Totalized Pulse for FE-1101 Flow from Warren Way PS
DI | Rack1:6:I.Data.1 | Totalized Pulse for FE-1102 Flow from Main St PS | FIQ-102 | FIQ-102 Totalized Pulse for FE-1102 Flow from Main St PS
DI | Rack1:6:I.Data.4 | Headworks Odour Control Unit MCP Tripped (Vendor Control Panel LCP-4913) | YS-9101 | YS-9101 Headworks Odour Control Unit MCP Tripped (Vendor Control Panel LCP-4913)
DI | Rack1:6:I.Data.5 | Headworks Odour Control Unit Ready (Vendor Control Panel LCP-4913) | YM-910 | YM-910 Headworks Odour Control Unit Ready (Vendor Control Panel LCP-4913)
DI | Rack1:6:I.Data.6 | Headworks Odour Control Unit Running (Vendor Control Panel LCP-4913) | YS-9102 | YS-9102 Headworks Odour Control Unit Running (Vendor Control Panel LCP-4913)
DI | Rack1:6:I.Data.7 | Headworks Odour Control Unit Fault (Vendor Control Panel LCP-4913) | YS-9103 | YS-9103 Headworks Odour Control Unit Fault (Vendor Control Panel LCP-4913)
DI | Rack1:6:I.Data.8 | Headworks Room Motorized Control Damper Closed | ZSC-913 | ZSC-913 Headworks Room Motorized Control Damper Closed
DI | Rack1:6:I.Data.9 | Headworks Room Motorized Control Damper Open | ZSO-913 | ZSO-913 Headworks Room Motorized Control Damper Open
DI | Rack1:6:I.Data.10 | Headworks Odour Control Unit Hand Control | HK-90101 | HK-90101 Headworks Odour Control Unit Hand Control
DI | Rack1:6:I.Data.11 | Headworks Odour Control Unit Hand Control | HK-90102 | HK-90102 Headworks Odour Control Unit Hand Control
DI | Rack1:6:I.Data.12 | UPS Low Battery | JSF-900 | JSF-900 UPS Low Battery
DI | Rack1:6:I.Data.13 | UPS on Battery | YI-9001 | YI-9001 UPS on Battery
DI | Rack1:6:I.Data.14 | UPS Fault | XF-900 | XF-900 UPS Fault
DI | Rack1:6:I.Data.15 | UPS Bypassed | YI-9002 | YI-9002 UPS Bypassed
DO | Rack1:7:O.Data.1 | MX-1330 Equilization Tank Mixer 1 Run Command | MN-330 | MN-330 MX-1330 Equilization Tank Mixer 1 Run Command
DO | Rack1:7:O.Data.2 | MX-1340 Equilization Tank Mixer 2 Run Command | MN-340 | MN-340 MX-1340 Equilization Tank Mixer 2 Run Command
DO | Rack1:7:O.Data.3 | CP-1330 NaOH Dosing Pump 1 Run Command (Vendor Control Panel) | MN-350 | MN-350 CP-1330 NaOH Dosing Pump 1 Run Command (Vendor Control Panel)
DO | Rack1:7:O.Data.4 | CP-1340 NaOH Dosing Pump 2 Run Command (Vendor Control Panel) | MN-360 | MN-360 CP-1340 NaOH Dosing Pump 2 Run Command (Vendor Control Panel)
DO | Rack1:7:O.Data.9 | Headworks Odour Control Unit Run Command (Vendor Control Panel LCP-4913) | MN-910 | MN-910 Headworks Odour Control Unit Run Command (Vendor Control Panel LCP-4913)
AI | Rack2:1:I.Ch0Data | Headworks Odour Control Unit CH4 Gas | GIT-90102 | GIT-90102 Headworks Odour Control Unit CH4 Gas
AI | Rack2:1:I.Ch5Data | Gas and GO PS Inflow Magnetic Flow Meter Flow Indication | FIT-101 | FIT-101 Gas and GO PS Inflow Magnetic Flow Meter Flow Indication
AI | Rack2:1:I.Ch6Data | Main Steet PS Inflow Magnetic Flow Meter Flow Indication | FIT-102 | FIT-102 Main Steet PS Inflow Magnetic Flow Meter Flow Indication
AI | Rack2:2:I.Ch1Data | Headworks Room Mass Airflow Meter Flow Indication | FIT-903 | FIT-903 Headworks Room Mass Airflow Meter Flow Indication
AI | Rack2:2:I.Ch2Data | Headworks Room Differential Pressure Pressure Indication | PDIT-903 | PDIT-903 Headworks Room Differential Pressure Pressure Indication
AI | Rack2:2:I.Ch3Data | Headworks MCC Room Differential Pressure Indication | PDIT-909 | PDIT-909 Headworks MCC Room Differential Pressure Indication
AI | Rack2:2:I.Ch4Data | Headworks MCC Room Temperature | TIT-90903 | TIT-90903 Headworks MCC Room Temperature
AI | Rack2:2:I.Ch5Data | TK-1300 EQ Tank Level Indication | LIT-303 | LIT-303 TK-1300 EQ Tank Level Indication
AI | Rack2:3:I.Ch0Data | Headworks Odour Control Unit H2S Gas | GIT-90101 | GIT-90101 Headworks Odour Control Unit H2S Gas
AI | Rack2:3:I.Ch1Data | TK-1700 Wash Water Tank Level | LIT-701 | LIT-701 TK-1700 Wash Water Tank Level
AI | Rack2:3:I.Ch3Data | Headworks Odour Control Unit Temperature | TIT-901 | TIT-901 Headworks Odour Control Unit Temperature
AI | Rack2:3:I.Ch4Data | Headworks Odour Control Unit Mass Airflow Meter Flow Indication | FIT-901 | FIT-901 Headworks Odour Control Unit Mass Airflow Meter Flow Indication
AI | Rack2:3:I.Ch6Data | Headworks Room Temperature | TIT-903 | TIT-903 Headworks Room Temperature
AI | Rack2:3:I.Ch7Data | EF-4910 Odour Control Unit Exhaust Fan Speed Feedback | SI-910 | SI-910 EF-4910 Odour Control Unit Exhaust Fan Speed Feedback
AO | Rack2:4:O.Ch5Data | CP-1330 NaOH Dosing Pump 1 Speed Reference to VFD (Vendor Control Panel LCP-1330) | SC-350 | SC-350 CP-1330 NaOH Dosing Pump 1 Speed Reference to VFD (Vendor Control Panel LCP-1330)
AO | Rack2:4:O.Ch6Data | CP-1340 NaOH Dosing Pump 2 Speed Reference to VFD (Vendor Control Panel LCP-1340) | SC-360 | SC-360 CP-1340 NaOH Dosing Pump 2 Speed Reference to VFD (Vendor Control Panel LCP-1340)
AO | Rack2:4:O.Ch7Data | Headworks Odour Control Unit Speed Reference to VFD | SC-910 | SC-910 Headworks Odour Control Unit Speed Reference to VFD